## May (hidden)
Company Name
Monthly Injury Analysis Report (November- 2021)
[5 empty] | Date: | 30.11.2021
Sl No | Injury Type |  | Name of Month | Total | Average | Percentage
30.11.2021
1 | Knife Cut |  | 0 | 0 | 0 | 0%
2 | Needle Cut |  | 0 | 0 | 0 | 0%
3 | Scissor/Cutter Cut |  | 1 | 1 | 1 | 100%
4 | Machine Injury |  | 0 | 0 | 0 | 0%
5 | Fall Injury |  | 0 | 0 | 0 | 0%
6 | Slippery Injury |  | 0 | 0 | 0 | 0%
7 | Electric shock Injury |  | 0 | 0 | 0 | 0%
8 | Others |  | 0 | 0 | 0 | 0%
| Total |  | 1 | 1 | 1 | 100%
Total Manpower: |  | 160
The final finding is out of 160 persons, 01 persons were suffering from various injuries which is 0.05% of total manpower.
Preventive / Corrective Action Plan
| Injury Type | Monthly injury number | Analysis Average | Preventive/Corrective Action Plan
| Knife Cut | 0 | 0
| Needle Cut | 0 | 0
| Cutter Cut | 1 | 1 | Need to provide full attention when work by cutter,also don`t talk each others,Cutter must be treatment company doctor and nurse.
| Machine Injury | 0 | 0
| Fall Injury | 0 | 0
| Slipppery Injury |  | 0
| Electric shock Injury | 0 | 0
| Others | 0 | 0
| Total | 1 | 1
| Nurse |  | Medical Officer |  | GM
Remarks:
1) Discuss the analysis report in the Safety Committee meeting.
2) During Health & Safety awareness meeting inform the participants about the Injuries trend and what precaustion/ preventive measures need to take.
3) Training required on injury analysis and need discuss how to prevent this type of injuries.

## December-2021 (hidden)
Company Name
Monthly Injury Analysis Report (December - 2021)
[5 empty] | Date: | 30.12.2021
Sl No | Injury Type |  | Name of Month | Total | Average | Percentage
30.12.2021
1 | Knife Cut |  | 0 | 0 | 0 | 0%
2 | Needle Cut |  | 1 | 1 | 2 | 66.67%
3 | Scissor/Cutter Cut |  | 0 | 0 | 1 | 33.33%
4 | Machine Injury |  | 0 | 0 | 0 | 0%
5 | Fall Injury |  | 0 | 0 | 0 | 0%
6 | Slippery Injury |  | 0 | 0 | 0 | 0%
7 | Electric shock Injury |  | 0 | 0 | 0 | 0%
8 | Others |  | 0 | 0 | 0 | 0%
| Total |  | 1 | 1 | 3 | 100%
Total Manpower: |  | 269
The final finding is out of 269 persons, 01 persons were suffering from various injuries which is 0.05% of total manpower.
Preventive / Corrective Action Plan
| Injury Type | Monthly injury number | Analysis Average | Preventive/Corrective Action Plan
| Knife Cut | 0 | 0
| Needle Cut | 2 | 2 | Need to provide full attention when work by needle,also has to be full focused on work. Injury must be treated company doctor and nurse.
| Cutter Cut | 0 | 1 | Need to provide full attention when work by cutter ,also has to be tied with rope. Injury must be treated company doctor and nurse.
| Machine Injury | 0 | 0
| Fall Injury | 0 | 0
| Slipppery Injury | 0 | 0
| Electric shock Injury | 0 | 0
| Others | 0 | 0
| Total | 2 | 3
| Nurse |  | Medical Officer |  | GM
Remarks:
1) Discuss the analysis report in the Safety Committee meeting.
2) During Health & Safety awareness meeting inform the participants about the Injuries trend and what precaustion/ preventive measures need to take.
3) Training required on injury analysis and need discuss how to prevent this type of injuries.

## Solar
Company Name
Company Address
Solar Pannel Maintenance Check List.
Date :
S. No | Description | Frequency | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
01 | Solar array weights should be included in structural load management program | Daily
02 | Signs of any type of damage on solar system | W
03 | Dirt build-up or clean and free of debris | W
04 | Encroaching shade | W
05 | Loose hanging wires in the solar array | W
06 | Signs of animal infestation under the solar array, | W
07 | All conductor (DC, AC) is not exposed | W
08 | Check the cables for any cracks, breaks or deterioration in the insulation. | W
09 | Electrical panel boards and wiring can be visually inspected for signs of corrosion or burning signs | W
S. No | Description | Frequency | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
10 | Electrical System Fault Checks | W
11 | Checking that access to the isolator switches has not been impeded. | W
12 | Inverter cleaning | W
13 | Turn off and on the inverter to check if it restarts properly | W
14 | Visual inspection of Battery Charger/Charge controller | W
15 | Checking water level | Bi Monthly
16 | Temperature rise and the condition of the terminals. Connection of the battery terminals should be made properly and checked periodically for loose connection and deposition of sulphate, any electrolyte leaks, corrosion at the terminals or cracks. | Bi Monthly
17 | Inflammable materials must not be kept in the vicinity of the battery. | Bi Monthly
18 | Solar panel should be included on Monthly Corrosion and Anchorage maintenance checklist. | M
19 | Making sure the emergency procedures for shutdown and isolation are clearly displayed. Switches do not have any defects. | M
S. No | Description | Frequency | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
20 | All ground/earthing wires should be checked to ensure they are not broken. | Q
21 | Thermographic surveys (inverter and charge controller, electrical system etc.) should be conducted every four months, as a minimum, for detecting possible hot spots. | After every 4 Months
22 | Preventative maintenance inspection (Annually as per manufacturers guidelines): Solar arrays should undergo a preventative maintenance inspection at least once a year, or more often depending on system size. | A
23 | Insulation resistance and earth resistance test should be tested every year for electrical system of solar system. | A
Signature Of Operator |  |  | 1: Md. Nasim Sharif (Electrical Engineer) Verify By: Md. Abul Kalam Electrical I/C