| S/L µ:bs | Inspection Description (cwi`k©‡bi weeiY) | Yes nvu | No bv | N/A Gb/G | Corrective Action Plan (ms‡kvabg~jK Kg© cwiKíbv) | Remarks gšÍe¨ |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Is the gas cylinder properly protected? M¨vm wmwjÛvi wK mwVK fv‡e myiwÿZ? |  |  |  |  |  |
| 2 | Is the valve protection cap available? fvj¦ myiÿv K¨vc Av‡Q wK? |  |  |  |  |  |
| 3 | Is the Regulator free from any defect? wbqš¿K †h †Kvb µwU †_‡K gy³ Av‡Q wK ? |  |  |  |  |  |
| 4 | Is the pressure gauge in the right condition? †cÖmvi †MR wK mwVK Ae¯’vq Av‡Q wK?? |  |  |  |  |  |
| 5 | Is there proper PPE available for work, e.g., leather hand gloves safety glasses, etc.? Kv‡Ri Rb¨ Dchy³ wc.wc.B †hgb Pvgovi n¨vÛ Møvfm,Pkgv BZ¨vw` we`¨gvb Av‡Q wK? |  |  |  |  |  |
| 6 | Are there fire extinguishers available at work? Kv‡Ri RvqMvq AwMœ wbevcK hš¿ Av‡Q wK? |  |  |  |  |  |
| 7 | Is there emergency equipment available at work place? Kv‡Ri ¯’v‡b Riæix miÄvg Av‡Q wK? |  |  |  |  |  |
| 8 | Is there Safety Data Sheet available (SDS)? wbivcIv WvUv wmU Av‡Q wK? |  |  |  |  |  |
| 9 | Is gas cylinder separated from hazards? M¨vm wmwjÛvi wc`RbK c`v_© †_‡K Avjv`v Av‡Q wK? |  |  |  |  |  |
| 10 | Is valve outlet cap or plug available? fvj&e AvDU‡jU K¨vc ev cøvM Av‡Q wK? |  |  |  |  |  |
| 11 | Is there hazards identification labeling is provided for area. GjvKvq wec` mbv³KiY †j‡ewjs mieivn Kiv n‡q‡Q wK¦ |  |  |  |  |  |
| 12 | Are the emergency procedures posted. Riæix cwiw’wZ‡Z Kibxq wK Zv †cvó Kiv Av‡Q wK? |  |  |  |  |  |
| 13 | Is there a list of trained responsible from fire department who are designated for flowing. d‡jvAvc Gi Rb¨ `gKj wefvM n‡Z cÖwkwÿZ g‡bvbxZ Kg©xi ZvwjKv Av‡Q wK? |  |  |  |  |  |
| 14 | Are places Identified where hazardous materials are located. wec`RbK DcKiY ¸‡jvi Ae¯’vb wK mbv³ Kiv n‡q‡Q ? |  |  |  |  |  |
| 15 | Is compressed Gas cylinder bottle protected from overheating? Kg‡cÖ‡mW M¨vm wmwjÛv‡ii †evZj wK AwZwi³ Mig nIqv †_‡K myiwÿZ ? |  |  |  |  |  |
| 16 | Are compressed gas cylinder bottle free from corrosion? Kg‡cÖ‡mW M¨vm wmwjÛv‡ii †evZj wK ÿq gy³? |  |  |  |  |  |
| 17 | Are there any explosives around the gas cylinder? M¨vm wmwjÛv‡ii Av‡kcv‡k wK †Kv‡bv we‡ùviK Av‡Q ? |  |  |  |  |  |
| 18 | Is room and foundation constructed to be. fire resistance? iæ‡gi ‡`Iqvj wK AwMœ c\wZ‡ivaK? |  |  |  |  |  |
| 19 | Are equipment and hoses in good repair? miÄvg Ges bj¸wj wK fv‡jvfv‡e †givgZ Kiv nq ? |  |  |  |  |  |
| 20 | Is there soapy water and brush available for test leak? mvevb Rj Ges eªv‡ki e¨e¯’v Av‡Q wK cwiÿvi Rb¨ ? |  |  |  |  |  |
| 21 | Are hosses kept short as possible? ‡nvm¸‡jv wK hZUv m¤¢e mswÿß ivLv n‡q‡Q ? |  |  |  |  |  |
| 22 | Are cylinder stored in upright positions and immobilized by chain or other means to prevent them from being knocked over? wmwjÛvi¸wj wK †mvRv Ae¯’v‡b msiÿY Kiv nq Ges †PBb ev Ab¨vb¨ Dcv‡q w¯’i Kiv nq hv‡Z Kviv wQU‡K bv c‡o? |  |  |  |  |  |

| 23 | Is cylinder stored away from highly flammable substances such as oil, gasoline, or waste? wmwjÛviwU wK ˆZj ,‡cUªj ev e‡R©¨I g‡Zv AZ¨šÍ R¡jb‡hvM¨ c`v_© †_‡K msiÿb Kiv nq? |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 24 | Are cylinder away from electrical connection, gas flames or other Sources of ignition, and substance such as flammable solvents and combustible waste materials? wmwjÛv‡ii wK ‰e`ywZK ms‡hvM M¨v‡mi Av¸b ev Ab¨vb¨ Av¸‡bi SjK Gi Drm Ges `vn¨ `ªveK Ges `vn¨ eR©¨ c`v†_©i g‡Zv c`v_© †_‡K `y‡i ? |  |  |  |  |  |
| 25 | Are storage room for cylinder dry,cool,and well-ventilated? wmwjÛv‡ii Rb¨ †÷v‡iR iæg wK ïK‡bv kxZj Ges fv‡jv evqyPjvP‡ji e¨e¯’v Av‡Q? |  |  |  |  |  |
| 26 | Are cylinder stored away from incompatible, excessive heat, continuous dampness, salt or other corrosive chemical, and any areas that may subject them to damage? wmwjÛv‡ii wK Am½Z, AZ¨waK Zvc, µgvMZ Av`ªZ©v ,jeY, ev Ab¨vb¨ ÿqKvix ivmvqwbK Av‡Q Ggb †KvbI ¯’vb †_‡K `~‡i msiÿY Kiv nq hv Zv‡`i ÿwZi KviY n‡Z cv‡i ? |  |  |  |  |  |
| 27 | Is the storage area permanently posted with the names of the gases stored in the cylinder? wmwjÛv‡ii wfZi _vKv M¨v‡mi bvg w`‡q †óv‡iR GjvKvq ¯’vqxfv‡e †cvó Kiv n‡q‡Q ? |  |  |  |  |  |
| 28 | Do all the compressed gas cylinders have their contents and precautionary labeling clearly marked on their exteriors? mg¯Í M¨vm wmwjÛv‡ii evwn‡ii As‡k wK Zv‡`i mvgMÖx Ges mZK©g~jK †j‡ewjs ¯úófv‡e wPwýZ i‡q‡Q ? |  |  |  |  |  |
| 29 | Are all compressed gas cylinders valve covers in place when cylinders are not in use? hLb wmwjÛv‡i e¨envi Kiv nq bv ZLb wK mg¯Í M¨vm wmwjÛvi fvj¦ Kfvi _v‡K ? |  |  |  |  |  |
| 30 | Are All compressed gas cylinders stored as they do not block exit path? mg¯Ím M¨vm wmwjÛvi ¸wj wK Ggb fv‡e msiÿY Kiv nq hv‡Z Zviv ewnM©gb evav gy³ iv‡L ? |  |  |  |  |  |
| 31 | Are all compressed gas cylinders subject to periodic hydrostatic testing and interior inspection? mg¯Í M¨vm wmwjÛvi wK nvD‡Wªv÷vwUK cwiÿv Ges Af¨šÍixY cwiÿv Kiv nq? |  |  |  |  |  |
| 32 | Do all compressed gas cylinder have safety pressure relief valve? mg¯Í M¨vm wmwjÛv‡i wK myiÿv Pvc Kgv‡bvi fvj¦ i‡q‡Q? |  |  |  |  |  |
| 33 | Are cylinders always maintained at temperature below 125°F ? wmwjÛvi wK me©`v 124 wWwMÖ dv‡ibnvB‡Ui bx‡P ZvcgvGvq ivLv nq? |  |  |  |  |  |
| 34 | Are safety relief devices in the valve or on the cylinder free from any indication of tampering? fvj¦ ev wmwjÛv‡ii myiÿv wWfvBmwU wK b‡ói †KvbI Bw½Z †_‡K gy³ ? |  |  |  |  |  |
| 35 | Is the bottom of the cylinder protected from the ground to prevent rusting? gwiPv cÖwZ‡iv‡ai Rb¨ wmwjÛv‡ii bx‡Pi AskwU wK gvwV †_‡K myiwÿZ? |  |  |  |  |  |
| 36 | Are all compressed gas cylinder regularly inspected for corrosion, pitting, cuts, gouges, digs, bulges, neck defects and general distortion? mgwÍ msKzwPZ M¨vm wmwjÛvi wK wbqwgZ ÿq,_yZz,KvUv, MR© ,Lbb, Nv‡ii µwU e‡es mvaviY weK…wZi Rb¨ cwiÿv Kiv nq? |  |  |  |  |  |
| 37 | Are cylinders valves closed at all times, except when the valves are in use? wmwjÛv‡ii fvj¦¸‡jv wK me©`v ed _v‡K fvj¦ ¸‡jv f¨envi Kiv e¨wZZ? |  |  |  |  |  |

| S/L µ:bs | Inspection Description (cwi`k©‡bi weeiY) | Yes nvu | No bv | N/A Gb/G | Corrective Action Plan (ms‡kvabg~jK Kg© cwiKíbv) | Remarks gšÍe¨ |
| --- | --- | --- | --- | --- | --- | --- |
| 38 | Are suitable pressure regulating devices in use whenever the gas is emitted to system with pressure -rated limitations lower than the cylinder pressure?wmwjÛvi Pv‡ci †P‡q Kg Pv‡c †i‡UW mxgve×Zvi mv‡_ wm‡÷‡g M¨vm wbM©Z n‡j Dchy³ Pvc wbqš¿YKvix wWfvBm¸wj wK e¨envi Kiv nq ? |  |  |  |  |  |
| 39 | Are the compressed gas cylinder connections such as pressure regulators, manifold, hoses, gauges, and relief valves checked for Integrity and tightness? msKzwPZ M¨vm wmwjÛv‡ii ms‡hvM †hgb †c\mvi †i¸‡jUi g¨vwb‡dvì ,‡nvm,‡MR,wiwjd fvj¦¸‡jv cwiÿv Kiv nq? |  |  |  |  |  |
| 40 | Are allow compressed gas cylinder regularly subjected to leak detection using an approved leak detecting liquid? Aby‡gvw`Z wj‡KR mbv³Kvix Zij e¨envi K‡i M¨vm wmwjÛv‡i wj‡KR cwiÿv Kiv nq ? |  |  |  |  |  |
| 41 | Are compressed gases only handle by experienced and properly trained people ? msKzwPZ M¨vm wK *aygvG Awf½ Ges mwVKfv‡e c\wkwÿZ e¨vw³Øviv cwiPvwjZ nq ? |  |  |  |  |  |

Disclaimer: The list is not all encompassing due to the extensive list of adopted codes. The Inspector shall document all fire and life safety violations and corrections when any are discovered during inspection. Disclaimer: (M„nxZ †KvW¸wji wemË… ZvwjKvi Kvi‡Y ZvwjKvwU mgwÍ AšÍfz©³ bq | BÝ‡c±i mgwÍ AwMœ I Rxeb myiÿv †KvW j•Nb Ges ms‡kvab ¸wj bw_e× Ki‡eb hLb cwi`k©‡bi mgq †Kvb wKQz Avwe®‹…Z nq )

| Inspector’s Signature | Authorized Person Signature |
| --- | --- |
| BÝ‡c±‡ii ¯^vBi | Aby‡gvw`Z e¨w³i ¯^vBi |