## Sheet1
Company Name Company Address
Fire Separation & Fire Door Inspection Checklist
Month: | [17 empty] | Year:
Inspection Date: | [17 empty] | Ref. Document: NFPA80, 2013 Edition
Sl No. | Door Location | Door Type | Door Leaf |  | Door Lock |  | Door Closer |  | Door Panic Bar |  | Door Coordinator |  | Vison Panel |  | Smoke Seal |  | Door Hinge Condition |  | Magnetic Door Holder |  | Overall Door Function |  | Remarks
|  |  | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok | Ok | Not Ok
1 | Knitting Office Room | Single
2 | Knitting East Side | Single
3 | Knitting West Side | Single
4 | Knitting Fabrics Store North East Side | Double
5 | Knitting Fabrics Store South Side | Single
6 | Site A Garment's Accessories Store | Single
7 | Site A 3 Number Fire Control Room | Single
8 | Site A Garment's Building 1st Floor Stodio Room | Single
9 | Site A Garment's Building 1st Floor Knitting Stair | Single
10 | Site A Garment's Building 1st Floor South Middle Side | Double
11 | Site A Garment's Building 1st Floor Finishing Stair | Double
12 | Site A Garment's Building 1st Floor Packing Room North Side | Single
13 | Site A Garment's Building 1st Floor Packing Room South Side | Single
14 | Site A Garment's Building 1st Floor Emergency Stair | Single
15 | Site A Garment's Building 2nd Floor Emergency Stair | Single
16 | Site A Garment's Building 2nd Floor Packing Room | Single
17 | Site A Garment's Building 2nd Floor Finishing Stair | Double
18 | Site A Garment's Building 2nd Floor Office Room | Single
19 | Site A Garment's Building 2nd Floor Left Side | Double
20 | Site A Garment's Building 2nd Floor Knitting Stair | Single
21 | Site A Garment's Building 3rd Floor Office Room | Single
22 | Site A Garment's Building 3rd Floor Knitting Stair | Single
23 | Site A Garment's Building 3rd Floor Left Side | Double
24 | Site A Garment's Building 3rd Floor Emergency Stair | Single
25 | Site A Garment's Building 3rd Floor Finishing Stair | Double
26 | Site A Garment's Building 3rd Floor Packing Room | Single
27 | Site A Garment's Building 4th Floor Office Room | Single
28 | Garment's Building 4th Floor Quality Manager Room | Single
29 | Site A Garment's Building 4th Floor Finishing Stair | Double
30 | Site A Garment's Building 4th Floor Left Side | Double
31 | Site A Garment's Building 4th Floor Knitting Stair | Single
32 | Site A Garment's Building 5th Floor Cad Room | Single
33 | Site A Garment's Building 5th Floor Finishing Stair | Double
34 | Site A Garment's Building 5th Floor Knitting Stair | Single
35 | Site A Garment's Building 5th Floor Left Side | Double
36 | Site A Fire Control Room 2 | Single
37 | Chest Printing 1st Floor West Side | Single
38 | Chest Printing 1st Floor East Side | Single
39 | Chest Printing 2nd Floor East Side | Single
40 | Chest Printing 2nd Floor Chemical Mixing Room | Single
41 | Chest Printing 2d Floor West Side | Single
42 | Chest Printing 3rd Floor West Side | Single
43 | Chest Printing 3rd Floor East Side | Single
44 | Chest Printing 4th Floor East Side | Single
45 | Chest Printing 4th Floor West Side | Single
46 | Chest Printing 5th Floor West Side | Single
47 | Chest Printing 5th Floor East Side | Single
48 | Chest Printing 6th Floor West Side | Single
49 | Dyeing Finishing North East Side | Single
50 | Wasing North Side | Single
51 | Finish Goods North Side | Double
52 | Fabrics Store South Side | Double
53 | AOP Boiler Room | Single
54 | AOP Compressor Room | Single
55 | Dyeing GF Floor (Lift Side) | Dobule
56 | Dyeing GF Floor | Dobule
57 | Dyeing RCC Building 1st Floor (Lift Side) | Dobule
58 | Dyeing RCC Building 1st Floor | Dobule
59 | Dyeing RCC Building 2nd Floor (Lift Side) | Dobule
60 | Dyeing RCC Building 2nd Floor | Dobule
61 | Dyeing RCC Building 3rd Floor (Lift Side) | Dobule
62 | Dyeing RCC Building 3rd Floor | Dobule
63 | Dyeing RCC Building 4th Floor (Lift Side) | Dobule
64 | Dyeing RCC Building 4th Floor | Dobule
65 | RCC Building Material Store | Dobule
66 | DyeingRCC Building 5th Floor (Lift Side) | Dobule
67 | Dyeing RCC Building 5th Floor | Dobule
68 | Dyeing RCC Building 6th Floor (Lift Side) | Dobule
69 | Dyeing RCC Building 6th Floor | Dobule
70 | Yearn Dyeing GF (South Side) | Dobule
71 | Yearn Dyeing GF (North Side) | Dobule
72 | Yearn Dyeing 1st Floor (South Side) | Dobule
73 | Yearn Dyeing 1st Floor | Dobule
74 | Yearn Dyeing 2nd Floor (South Side) | Dobule
75 | Yearn Dyeing 2nd Floor | Dobule
76 | Canteen GF Floor | Single
77 | Site B Canteen 1st Floor (South Side) | Single
78 | Canteen 1st Floor (North Side) | Single
79 | Fire Pump Room | Single
80 | Site B Fire Control Room-3 | Single
81 | Security Building 1st Floor (South Side) | Single
82 | Security Building 1st Floor (North Side) | Single
83 | Security Building 2nd Floor (South Side) | Single
84 | Security Building 2nd Floor (North Side) | Single
85 | Security Building 3rd Floor (South Side) | Single
86 | Security Building 3rd Floor (North Side) | Single
87 | Off Set Printing GF Floor (South Side) | Dobule
88 | Off Set Printing GF Floor (North Side) | Dobule
89 | Off Set Printing GF Floor (West Side) | Dobule
90 | Off Set Printing GF Floor (East Side) | Dobule
91 | Off Set Printing 1st Floor | Dobule
92 | Off Set Printing 1st Floor | Dobule
93 | Off Set Printing 2nd Floor | Dobule
94 | Off Set Printing 2nd Floor | Dobule
95 | Off Set Printing 2nd Floor | Dobule
96 | Off Set Printing 2nd Floor | Dobule
97 | Steel B/L Warehouse GF | Dobule
98 | Steel B/L Warehouse GF | Dobule
99 | Steel B/L Warehouse 1st Floor | Dobule
100 | Steel B/L Warehouse 1st Floor (Middle) | Single
101 | Steel B/L Warehouse 1st Floor | Dobule
102 | Steel B/L Warehouse 2nd Floor | Dobule
103 | Steel B/L Warehouse 2nd Floor | Dobule
104 | Steel B/L Warehouse 3rd Floor | Dobule
105 | Steel B/L Warehouse 3rd Floor | Dobule
106 | Steel B/L Warehouse 4th Floor (Inspection Room) | Single
107 | Steel B/L Warehouse 4th Floor (Inspection Room) | Single
108 | Steel B/L Warehouse 4th Floor (South Side) | Dobule
109 | Steel B/L Warehouse 4th Floor (North Side) | Dobule
110 | Colur Kitchen GF Floor ( South Side) | Single
111 | Colur Kitchen GF Floor (North Side) | Single
112 | Colur Kitchen 1st Floor | Single
113 | Colur Kitchen 1st Floor | Single
114 | Colur Kitchen 2nd Floor | Single
115 | Colur Kitchen 2nd Floor | Single
116 | Colur Kitchen 3rd Floor | Single
117 | Colur Kitchen 3rd Floor | Single
118 | Site B Garments GF Panel Room | Single
119 | Site B Garments GF Floor Lift Side | Single
120 | Site B Garments 1st Floor Lift Side | Single
121 | Site B Garments 1st Floor South Side | Single
122 | Site B Garments 1st Floor North Side | Single
123 | Site B Garments 2nd Floor Lift side | Single
124 | Site B Garments 2nd Floor South Side | Single
125 | Site B Garments 2nd Floor North Side | Single
126 | Site B Garments 3rd Floor Lift Side | Single
127 | Site B Garments 3rd Floor South Side | Single
128 | Lanatbur Garments 3rd Floor North Side | Single
129 | Site B Garments 4th Floor Lift Side | Single
130 | Site B Garments 4th Floor South Side | Single
131 | Site B Garments 4th Floor North Side | Single
132 | Site B Garments 5th Floor Lift Side | Single
133 | Site B Garments 5th Floor South Side | Single
134 | Site B Garments 5th Floor North Side | Single
135 | Site B Garments 6th Floor Lift Side | Single
136 | Site B Garments 6th Floor South Side | Single
137 | Site B Garments 6th Floor North Side | Single
138 | Site B Boiler Room | Dobule
139 | Site B Generator Room | Dobule
140 | Site B Substation Room | Dobule
141 | Site B Generator Room (Old) | Dobule
142 | Site B Compressor Room (Old) | Dobule
143 | Rejection Building 1st Floor | Dobule
144 | Rejection Building 2nd Floor | Dobule
145 | Utility Building Control Room East Side | Single
146 | Utility Building Control Room North Side | Single
147 | Utility Building Control Room South Side | Single
148 | Utility Building Control Room West Side | Dobule
149 | Utility Building Gas Generator Room South Side | Single
150 | Utility Building Pump Room South Side | Single
151 | Utility Building 1st Floor West Side | Single
152 | Utility Building 1st Floor Middle Side | Single
153 | Utility Building 1st Floor East Side | Single
154 | Utility Building 2nd Floor East Side | Single
155 | Utility Building 2nd Floor West Side | Single
156 | Utility Building Roof Top West Side | Single
Authorized By: | [21 empty] | Checked By: