## Quarterly
Company Name Company Address
Sprinkler System Inspection Check List : Quarterly
Week No: |  |  | Ref. Document: NFPA13, 2013 Edition
Month: |  |  |  | Year:
SL NO. | APPLICABLE ISSUES | SCOPE | ACTION | REMARKS
1 | Waterflow devices | Visual Inspection
Testing
2 | Valve Supervisory Devices | Visual Inspection
Testing
3 | Supervisory Signal devices (Except valve supervisory swithches) | Visual Inspection
4 | Priming water | Testing
5 | Low air pressure alarms | Testing
6 | Quick-Opening devices | Testing
7 | Main Drains | Inspect
Authorized By: |  |  |  | Checked By: