## Quarterly
Company Name Company Address
Standpipe System Inspection Check List : Quarterly
Date: |  |  | Ref. Document: NFPA25(6.1.1.2), 2013 Edition
Month: |  |  |  | Year:
SL NO. | APPLICABLE ISSUES | SCOPE | ACTION | REMARKS
1 | Gauges | Visual Inspection
Clean
Test
2 | Hose House | Visual Inspection
Clean
3 | Main Drains | Visual Inspection
Inspect
Clean
Test
4 | Water Level-Tanks Without Supervised Water Level Alarms Connected to Constantly Attended Location | Visual Inspection
Clean
5 | Water Tank-Exterior | Visual Inspection
Clean
6 | Water Storage Tank Surrounding Area | Visual Inspection
Clean
7 | Fire Department Connection | Inspect
8 | Hose Valves | Inspect
Authorized By: |  |  |  | Checked By: