## Monthly
Company Name Company Address
Fire Alarm & Detection System Inspection Check List : Monthly
Date: |  | Ref. Document: NFPA 72, Table 14.3.1, 2013 Edition
Month: |  |  | Year:
Name of The Elements | Scope | OK | Not Ok | N/A | Remarks/Action Taken
Electrical System
Isolating switch & circuit breaker or fuses | Visual Inspection
Batteries (Fire Alarm Systems)
Corrosion | Visual Inspection
Leakage | Visual Inspection
Voltage | Test/Check
Verify Marking of the Month/Year of Manufacture (All Types) | Visual Inspection
Connection tightness | Test/Check/Visual Inspection
Authorized By: |  |  |  | Checked By: