## Quarterly
Company Name Company Address
Fire Alarm & Detection System Inspection Check List : Quarterly
Date: |  |  | Ref. Document: NFPA 72, Table 14.3.1, 2013 Edition
Month: |  |  |  | Year:
Name of The Elements |  | Scope | OK | Not Ok | N/A | Remarks/Action Taken
Initiating Devices | Radiant energy fire detectors | Inspection
| Image Smoke & Fire Detector | Inspection
| Supervisory Signal Devices | Inspection
| Waterflow Devices | Inspection
Incharge Electrical Deputy Manager (Electrical) DGM (HAC) Date: Date: Date:
Authorized By: |  |  |  |  | Checked By: