## Fire Extinguisher
Company Name
Reference: NFPA 10 (2013),Sec.7.2.2
Monthly Fire Extinguisher Checking Record - (Month of August-2025)
Checked By (Name) : Designation :
Fire Extinguisher Information |  |  |  |  | Date & Days |  | Ckecking Point | [8 empty] | Findings & Corrective Action |  | Others
Serial No. (µwgK bs) | Extinguisher No (G·wUs¸Bmvi bv¤¢vi) | Extinguisher Type (G·wUs¸Bmvi Gi aiY/cÖKvi) | Capaity (aviYÿgZv) | Extinguisher Placeing Location (G·wUs¸Bmvi Gi Ae¯’vb) | Refilling Date (wiwdwjs Gi ZvwiL) | Next Refilling Date / Date of Expiry (cieZx© wiwdwjs Gi ZvwiL / †gqv` DwËY© ZvwiL) | No Objection to access or Visibility (evuavgy³ I mn‡R `„k¨gvb Ae¯’vq Av‡Q) | Pressore Guage Reading on Indication the Operable Position. (‡cÖmvi †MR / wgUvi mwVK PvR© Ae¯’vq Av‡Q ) | Material inside Cilinder Fullness & Moving Freely by Weighting on Hefting (wmwjÛvi Gi cwic~Y©Zv I wVK Av‡Q - D‡Ëvjb K‡i I SuvKzwb w`‡q) | Cilinder Hose/Nozzle free of Crakes & tears. (wmwjÛvi Gi bRj/‡nvR cvBc duvUv - †Quvov gy³) | Pin & Tamper sear Intact. (wcb Ges †U¤úvi wmj ÎæwUgy³) | Carrying Handle / Lever is not Damage. (K¨vwis n¨v‡Ûj Ges wjfvi ÎæwUgy³) | No Dents, Leaks, Rust, Chemical deposit or other sign of Abuse on Cilinder (wmwjÛvi G †Kvb AvNvZ, wj‡KR, gqjv ev †Kvb Ace¨venvi n‡”Q bv) | Attached Inspection Tag is Updated (msh&³ BÝ‡cKkb U¨vM / w÷Kvi Avc‡W‡UW) | Inspection Date (পরিদর্শন তারিখ) | Findings / Deviation (If any) (dvBwÛsm - hw` _v‡K) | Corrective Action taken (If any) (M„nxZ e¨e¯’v - hw` _v‡K) | Signature of Inspector (cwi`k©‡Ki ¯^vÿi)
[7 empty] | √ / X | √ / X | √ / X | √ / X | √ / X | √ / X | √ / X | √ / X
Germents Ground Floor | [14 empty] | .
1 | 1 | DCP | 5 Kg | Ground Floor South Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 2 | DCP | 5 Kg | Ground Floor West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 3 | DCP | 5 Kg | Ground Floor West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 4 | DCP | 5 Kg | Ground Floor West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 5 | DCP | 5 Kg | Ground Floor Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 6 | DCP | 5 Kg | Ground Floor Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 7 | DCP | 5 Kg | Ground Floor Middle Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
8 | 8 | DCP | 5 Kg | Ground Floor Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 9 | DCP | 5 Kg | Ground Floor Middle Side Piller | Send For Refilling | [9 empty] | 03-09-2025
10 | 10 | DCP | 5 Kg | Ground Floor Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
11 | 11 | CO2 | 5 Kg | Ground Floor East Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 12 | DCP | 5 Kg | Ground Floor East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 13 | DCP | 5 Kg | Ground Floor East Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
14 | 14 | DCP | 5 Kg | Ground Floor East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 15 | CO2 | 5 Kg | Ground Floor East Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Garments 1st Floor | [14 empty] | .
1 | 16 | DCP | 5 Kg | Packing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 17 | DCP | 5 Kg | Packing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 18 | DCP | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 19 | DCP | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 20 | DCP | 5 Kg | Finishing Section West Side Piller | Send For Refilling | [9 empty] | 03-09-2025
6 | 21 | CO2 | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 22 | DCP | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 23 | DCP | 5 Kg | Finishing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 24 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 25 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
11 | 26 | DCP | 5 Kg | Finishing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 27 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 28 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
14 | 29 | CO2 | 5 Kg | Finishing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 30 | CO2 | 5 Kg | Finishing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments 2nd Floor | [14 empty] | .
1 | 31 | DCP | 5 Kg | Packing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 32 | DCP | 5 Kg | Packing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 33 | DCP | 5 Kg | Packing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 34 | DCP | 5 Kg | Finishing Section West Side Piller | Send For Refilling | [9 empty] | 03-09-2025
5 | 35 | DCP | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 36 | DCP | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 37 | CO2 | 5 Kg | Finishing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 38 | DCP | 5 Kg | Finishing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 39 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 40 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
11 | 41 | DCP | 5 Kg | Finishing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 42 | DCP | 5 Kg | Finishing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
13 | 43 | CO2 | 5 Kg | Finishing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 44 | DCP | 5 Kg | Finishing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 45 | CO2 | 5 Kg | Finishing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments 3rd Floor | [14 empty] | .
1 | 46 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 47 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 48 | DCP | 5 Kg | Sewing Section West Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 49 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 50 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 51 | DCP | 6 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
7 | 52 | DCP | 6 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 53 | CO2 | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 54 | DCP | 5 Kg | Sewing Section East Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 55 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
11 | 56 | DCP | 5 Kg | Sewing Section West Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 57 | DCP | 5 Kg | Sewing Section West Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
13 | 58 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
14 | 59 | DCP | 5 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 60 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments 4th Floor | [14 empty] | .
1 | 61 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 62 | DCP | 6 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 63 | DCP | 5 Kg | Sewing Section West Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 64 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 65 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 66 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 67 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 68 | DCP | 5 Kg | Sewing Section Middle Side Piller | Send For Refilling | [9 empty] | 03-09-2025
9 | 69 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 70 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
11 | 71 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 72 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 73 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 74 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 75 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments 5th Floor | [14 empty] | .
1 | 76 | CO2 | 5 Kg | Sewing Section East Side Pller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 77 | DCP | 5 Kg | Sewing Section Middle Side Piller | Send For Refilling | [9 empty] | 03-09-2025
3 | 78 | DCP | 5 Kg | Sewing Section West Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 79 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 80 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 81 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 82 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 83 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 84 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 85 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
11 | 86 | DCP | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 87 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 88 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 89 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 90 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments 6th Floor | [14 empty] | .
1 | 91 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 92 | DCP | 5 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 93 | DCP | 5 Kg | Sewing Section West Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 94 | DCP | 5 Kg | Sewing Section West Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
5 | 95 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 96 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 97 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 98 | DCP | 5 Kg | Sewing Section East Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
9 | 99 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 100 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
11 | 101 | DCP | 5 Kg | Sewing Section West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 102 | DCP | 5 Kg | Sewing Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 103 | CO2 | 5 Kg | Sewing Section East Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 104 | DCP | 5 Kg | Sewing Section Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 105 | DCP | 5 Kg | Sewing Section West Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Garments Top Floor | [14 empty] | .
1 | 106 | DCP | 5 Kg | Sewing Section North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 107 | CO2 | 5 Kg | Sewing Section North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 108 | DCP | 5 Kg | Sewing Section South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 109 | CO2 | 5 Kg | Sewing Section South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Garments Ground Floor Fire Control Room | [14 empty] | .
1 | 110 | CO2 | 5 Kg | Garments Ground Floor Fire Control Room | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 111 | DCP | 5 Kg | Garments Ground Floor Fire Control Room | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Printing Section | [14 empty] | .
1 | 112 | CO2 | 5 Kg | Printing Section South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 113 | DCP | 5 Kg | Printing Section South Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 114 | CO2 | 5 Kg | Printing Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 115 | DCP | 5 Kg | Printing Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
5 | 116 | CO2 | 5 Kg | Printing Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 117 | Foam | 10 Litter | Printing Section West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 118 | DCP | 5 Kg | Printing Section North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 119 | Foam | 10 Litter | Printing Section North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 120 | DCP | 5 Kg | Printing Section North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 121 | DCP | 5 Kg | Printing Section North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 122 | CO2 | 5 Kg | Printing Section North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 123 | DCP | 5 Kg | Printing Section North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
13 | 124 | DCP | 5 Kg | Printing Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 125 | DCP | 5 Kg | Printing Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 126 | DCP | 5 Kg | Printing Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
16 | 127 | DCP | 5 Kg | Printing Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
17 | 128 | DCP | 5 Kg | Printing Section South Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
18 | 129 | CO2 | 5 Kg | Printing Section South Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Colour Kitchen Ground Floor | [14 empty] | .
1 | 130 | CO2 | 5 Kg | Colour Kitchen Ground Floor South Side | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 131 | DCP | 5 Kg | Colour Kitchen Ground Floor South Side | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 132 | DCP | 5 Kg | Colour Kitchen Ground Floor East Side | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 133 | DCP | 5 Kg | Colour Kitchen Ground Floor East Side | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Colour Kitchen 1st Floor | [14 empty] | .
1 | 134 | DCP | 5 Kg | Colour Kitchen 1st Floor North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 135 | CO2 | 5 Kg | Colour Kitchen 1st Floor North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Colour Kitchen 2nd Floor | [14 empty] | .
1 | 136 | DCP | 5 Kg | Colour Kitchen Office Room Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 137 | CO2 | 5 Kg | Colour Kitchen Office Room Middle Piller Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Colour Kitchen 3rd Floor | [14 empty] | .
1 | 138 | DCP | 5 Kg | Colour Kitchen Office Room Middle Wall Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 139 | CO2 | 5 Kg | Colour Kitchen Office Room Middle Wall Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Still Building Ware house Ground Floor Embroidery Section | [14 empty] | .
1 | 140 | CO2 | 5 Kg | Embroidery Section North Middle Piller Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 141 | DCP | 5 Kg | Embroidery Section North Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 142 | DCP | 5 Kg | Embroidery Section North Middle Piller Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 143 | DCP | 5 Kg | Embroidery Section North Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
5 | 144 | DCP | 5 Kg | Embroidery Section Middle Piller Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 145 | DCP | 6 Kg | Embroidery Section Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
7 | 146 | DCP | 5 Kg | Embroidery Section Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 147 | DCP | 5 Kg | Embroidery Section Middle Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 148 | DCP | 5 Kg | Embroidery Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
10 | 149 | DCP | 5 Kg | Embroidery Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 150 | DCP | 5 Kg | Embroidery Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 151 | CO2 | 5 Kg | Embroidery Section West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Ware house Ground Floor (Cad Section & Sample Section) | [14 empty] | .
1 | 152 | DCP | 6 Kg | Cate Section South Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 153 | CO2 | 5 Kg | Cate Section South Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 154 | DCP | 5 Kg | Cate Section Middle Piller Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 155 | DCP | 5 Kg | Cate Section Middle Piller Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
5 | 156 | DCP | 5 Kg | Sample Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 157 | DCP | 5 Kg | Sample Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 158 | DCP | 5 Kg | Sample Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 159 | CO2 | 5 Kg | Sample Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 160 | DCP | 6 Kg | Sample Section Middle Side Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
10 | 161 | DCP | 5 Kg | Sample Section Middle Side Piller Box | Send For Refilling | [9 empty] | 03-09-2025
11 | 162 | DCP | 5 Kg | Sample Section Middle Side Piller Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 163 | DCP | 5 Kg | Sample Section Middle Side Piller Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
13 | 164 | DCP | 5 Kg | Sample Section West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 165 | DCP | 5 Kg | Sample Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Ware house 1st Floor | [14 empty] | .
1 | 166 | DCP | 5 Kg | Sample Cutting Section North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 167 | DCP | 5 Kg | Sample Cutting Section North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 168 | DCP | 5 Kg | Sample Cutting Section East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 169 | DCP | 5 Kg | Sample Cutting Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 170 | DCP | 5 Kg | Store North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 171 | DCP | 5 Kg | Store North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 172 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 173 | DCP | 5 Kg | Store West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
9 | 174 | DCP | 5 Kg | Store West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 175 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 176 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 177 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
13 | 178 | DCP | 5 Kg | Store South Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 179 | DCP | 5 Kg | Store South Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
15 | 180 | DCP | 5 Kg | Store South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 181 | CO2 | 5 Kg | Store South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Ware house 2nd Floor | [14 empty] | .
1 | 182 | CO2 | 5 Kg | Store East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 183 | DCP | 5 Kg | Store East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 184 | DCP | 5 Kg | Store East Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 185 | DCP | 5 Kg | Store East Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 186 | DCP | 5 Kg | Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 187 | DCP | 5 Kg | Store East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 188 | DCP | 5 Kg | Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
8 | 189 | DCP | 5 Kg | Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 190 | DCP | 5 Kg | Store East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 191 | DCP | 5 Kg | Store East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
11 | 192 | DCP | 5 Kg | Store West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
12 | 193 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
13 | 194 | DCP | 5 Kg | Store West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 195 | DCP | 5 Kg | Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 196 | DCP | 5 Kg | Store Room West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 197 | DCP | 5 Kg | Store Room West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Ware house 3rd Floor | [14 empty] | .
1 | 198 | DCP | 25 Kg | Fabrics Store East Side | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 199 | CO2 | 5 Kg | Fabrics Store East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 200 | DCP | 5 Kg | Fabrics Store East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 201 | DCP | 5 Kg | Fabrics Store East Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 202 | DCP | 5 Kg | Fabrics Store East Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 203 | DCP | 5 Kg | Fabrics Store East Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 204 | DCP | 5 Kg | Fabrics Store East Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 205 | DCP | 5 Kg | Fabrics Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 206 | DCP | 5 Kg | Fabrics Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
10 | 207 | DCP | 5 Kg | Fabrics Store East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 208 | DCP | 5 Kg | Fabrics Store East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
12 | 209 | DCP | 5 Kg | Fabrics Store West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 210 | DCP | 5 Kg | Fabrics Store West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
14 | 211 | DCP | 5 Kg | Fabrics Store West Middle Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 212 | DCP | 5 Kg | Fabrics Store West Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 213 | DCP | 5 Kg | Fabrics Store West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
17 | 214 | DCP | 5 Kg | Fabrics Store West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Ware house 4rd Floor | [14 empty] | .
1 | 215 | DCP | 5 Kg | Finishing Carton East Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 216 | DCP | 5 Kg | Finishing Carton East Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 217 | DCP | 5 Kg | Finishing Carton East Middle Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 218 | DCP | 5 Kg | Finishing Carton East Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 219 | DCP | 5 Kg | Finishing Carton East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 220 | DCP | 5 Kg | Finishing Carton East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
7 | 221 | DCP | 5 Kg | Finishing Carton East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 222 | DCP | 5 Kg | Finishing Carton East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 223 | DCP | 5 Kg | Finishing Carton West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 224 | DCP | 5 Kg | Finishing Carton West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
11 | 225 | DCP | 5 Kg | Finishing Carton West Middile Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 226 | DCP | 5 Kg | Finishing Carton West Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 227 | DCP | 5 Kg | Finishing Carton West Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
14 | 228 | DCP | 5 Kg | Finishing Carton West Middle Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
15 | 229 | DCP | 5 Kg | Finishing Carton West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 230 | DCP | 5 Kg | Finishing Carton West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Ware house Top Floor | [14 empty] | .
1 | 231 | CO2 | 5 Kg | Top Floor North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 232 | DCP | 5 Kg | Top Floor North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Generator Room | [14 empty] | .
1 | 233 | Co2 | 5 Kg | Generator Room North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 234 | Foam | 10 Litter | Generator Room North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Sab Station Room | [14 empty] | 03-09-2025
1 | 235 | CO2 | 5 Kg | Sab Station Room West Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 236 | DCP | 5 Kg | Sab Station Room West Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Compressor Room | [14 empty] | .
1 | 237 | CO2 | 5 Kg | North Side Wall 1st Floor | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 238 | DCP | 5 Kg | North Side Wall 1st Floor | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 239 | DCP | 5 Kg | South Side Wall 1st Floor | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 240 | CO2 | 5 Kg | South Side Wall1st Floor | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Security Dormitoy Building Ground Floor | [14 empty] | .
1 | 450 | CO2 | 5 kg | Workshop South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 451 | DCP | 5 kg | Workshop South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 479 | CO2 | 5 kg | Workshop West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 480 | DCP | 5 kg | Workshop West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Security Dormitoy Building 1st Floor | [14 empty] | .
1 | 241 | DCP | 5 Kg | Security Building 1st Floor West and North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 242 | CO2 | 5 Kg | Security Building 1st Floor West and North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 243 | DCP | 5 Kg | Security Building 1st Floor West and South Side Wall | Send For Refilling | [9 empty] | 03-09-2025
4 | 244 | DCP | 5 Kg | Security Building 1st Floor West and South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Security Dormitory Building 2nd Floor | [14 empty] | .
1 | 245 | DCP | 5 Kg | Security Building 2nd Floor North Side Wall | Send For Refilling | [9 empty] | 03-09-2025
2 | 246 | DCP | 5 Kg | Security Building 2nd Floor North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 247 | DCP | 5 Kg | Security Building 2nd Floor South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 248 | DCP | 5 Kg | Security Building 2nd Floor South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Security Dormetoy Building 3rd Floor | [14 empty] | .
1 | 249 | DCP | 5 Kg | Security Building 3rd Floor North side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 250 | DCP | 5 Kg | Security Building 3rd Floor North side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 251 | CO2 | 5 Kg | Security Building 3rd Floor South side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 252 | DCP | 5 Kg | Security Building 3rd Floor South side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Carton Section Ground floor | [14 empty] | .
1 | 253 | CO2 | 5 Kg | Carton Section South Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 254 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 255 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 430 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 256 | CO2 | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 257 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 258 | CO2 | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 259 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 260 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 261 | DCP | 5 Kg | Carton Section Middle Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
11 | 262 | CO2 | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
12 | 263 | DCP | 5 Kg | Carton Section Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
13 | 264 | CO2 | 5 Kg | Carton Section West and North Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
14 | 265 | DCP | 5 Kg | Carton Section West and North Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
15 | 266 | DCP | 5 Kg | Carton Section West and North Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
16 | 267 | DCP | 5 Kg | Carton Section Middle Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
17 | 268 | CO2 | 5 Kg | Carton Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
18 | 269 | DCP | 5 Kg | Carton Section West Side Middle Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
19 | 270 | DCP | 5 Kg | Carton Section West Side Middle Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
20 | 271 | DCP | 5 Kg | Carton Section West Side Middle Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
21 | 272 | DCP | 5 Kg | Carton Section South Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
22 | 273 | DCP | 5 Kg | Carton Section South Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Carton Section Miznine Floor | [14 empty] | .
1 | 274 | DCP | 5 Kg | Carton Section Miznine Floor West and North Side Wa. | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 275 | CO2 | 5 Kg | Carton Section Miznine Floor West and North Side Wa. | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 276 | DCP | 5 Kg | Carton Section Miznine Floor West and South Side Wa. | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 277 | CO2 | 5 Kg | Carton Section Miznine Floor West and South Side Wa. | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 278 | DCP | 5 Kg | Carton Section Miznine Floor West Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 279 | DCP | 5 Kg | Carton Section Miznine Floor West Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Yarn dyeing Ground floor | [14 empty] | .
1 | 280 | DCP | 5 Kg | Yarn dyeing Ground Floor South Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
2 | 281 | CO2 | 5 Kg | Yarn dyeing Ground Floor South Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 282 | DCP | 5 Kg | Yarn dyeing Ground Floor North Side Wall | Send For Refilling | [9 empty] | 03-09-2025
4 | 283 | DCP | 5 Kg | Yarn dyeing Ground Floor North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Yarn dyeing 1st Floor | [14 empty] | .
1 | 284 | CO2 | 5 Kg | Yarn dyeing 1st Floor East and South Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 285 | DCP | 5 Kg | Yarn dyeing 1st Floor East and South Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 286 | CO2 | 5 Kg | Yarn dyeing 1st Floor East and North Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 287 | DCP | 5 Kg | Yarn dyeing 1st Floor East and North Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 288 | DCP | 5 Kg | Yarn dyeing 1st Floor East Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 289 | CO2 | 5 Kg | Yarn dyeing 1st Floor East Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 290 | DCP | 5 Kg | Yarn dyeing 1st Floor South Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 291 | CO2 | 5 Kg | Yarn dyeing 1st Floor South Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Yarn dyeing 2nd Floor | [14 empty] | .
1 | 292 | DCP | 5 Kg | Yarn dyeing 2nd Floor East And North Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 293 | CO2 | 5 Kg | Yarn dyeing 2nd Floor East And North Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 294 | DCP | 5 Kg | Yarn dyeing 2nd Floor East And South Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
4 | 295 | CO2 | 5 Kg | Yarn dyeing 2nd Floor East And South Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Yarn dyeing Roof Floor | [14 empty] | .
1 | 452 | CO2 | 5 kg | Yarn dyeing Roof Floor North Side wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 453 | DCP | 5 Kg | Yarn dyeing Roof Floor North Side wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Canteen | [14 empty] | .
1 | 296 | DCP | 5 Kg | Canteen North and West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 297 | DCP | 5 Kg | Canteen West Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
Canteen 1st Fioor | [14 empty] | .
1 | 447 | DCP | 5 Kg | Canteen North and West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 448 | DCP | 5 Kg | Canteen South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 449 | CO2 | 5 Kg | Canteen South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Pump Room | [14 empty] | .
1 | 298 | CO2 | 5 Kg | Canteen South and East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 299 | DCP | 5 Kg | Canteen South and East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 300 | Foam | 10 Litter | Pump Room South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 301 | CO2 | 5 Kg | Pump Room South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Dyeing Section | [14 empty] | .
1 | 302 | DCP | 5 Kg | Dyeing Section North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 303 | CO2 | 5 Kg | Dyeing Section North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 304 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 305 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 306 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 307 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 308 | CO2 | 5 Kg | Dyeing Section West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 309 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 310 | DCP | 5 Kg | Dyeing Section West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 311 | DCP | 5 Kg | Dyeing Section West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 312 | DCP | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
12 | 313 | CO2 | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
13 | 314 | DCP | 5 Kg | Dyeing Section South Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
14 | 315 | CO2 | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
15 | 316 | DCP | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 317 | DCP | 5 Kg | Dyeing Section South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
17 | 318 | DCP | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
18 | 319 | CO2 | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
19 | 320 | DCP | 5 Kg | Dyeing Section East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
20 | 321 | CO2 | 5 Kg | Dyeing Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
21 | 322 | DCP | 5 Kg | Dyeing Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
22 | 323 | CO2 | 5 Kg | Dyeing Section East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
23 | 324 | DCP | 5 Kg | Dyeing Section East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
24 | 325 | CO2 | 5 Kg | Dyeing Section East Side Wall | Send For Refilling | [9 empty] | 03-09-2025
25 | 326 | DCP | 5 Kg | Dyeing Section East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
26 | 327 | CO2 | 5 Kg | Dyeing Section East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
27 | 328 | DCP | 5 Kg | Dyeing Section South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
28 | 329 | CO2 | 5 Kg | Dyeing Section South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
29 | 330 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
30 | 331 | CO2 | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
31 | 332 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
32 | 333 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
33 | 334 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
34 | 335 | CO2 | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
35 | 336 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
36 | 337 | CO2 | 5 Kg | Dyeing Section NorthSide Middle Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
37 | 338 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
38 | 339 | CO2 | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
39 | 340 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
40 | 341 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Camical Store | [14 empty] | .
1 | 342 | Foam | 10 Litter | Camical Store south Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 343 | Foam | 10 Litter | Camical Store south Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
New Genaretor Room | [14 empty] | .
1 | 344 | CO2 | 5 Kg | New Genaretor Room North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 345 | Foam | 10 Litter | New Genaretor Room North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
New Substation Room | [14 empty] | .
1 | 346 | CO2 | 5 Kg | New Substation Room South Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 347 | DCP | 5 Kg | New Substation Room South Side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Boyler Room | [14 empty] | .
1 | 348 | DCP | 5 Kg | Boyler Room South and West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 349 | Foam | 10 Litter | Boyler Room South and West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 350 | Foam | 10 Litter | Boyler Room Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 351 | CO2 | 5 Kg | Boyler Room Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Dyeing RCC Building 1St Floor | [14 empty] | .
1 | 352 | DCP | 5 Kg | Rcc Bulding West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 353 | CO2 | 5 Kg | Rcc Bulding West Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 354 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 355 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 356 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 357 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
7 | 358 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 359 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 360 | CO2 | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
10 | 361 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
Dyeing RCC Building 2nd Floor | [14 empty] | .
1 | 362 | DCP | 5 Kg | Rcc Building Lab West stair Side Box | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
2 | 363 | DCP | 5 Kg | Rcc Building Lab West stair Side Box | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 364 | DCP | 5 Kg | Rcc Building Lab West Side Box | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 365 | DCP | 5 Kg | Rcc Building Lab West Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
5 | 366 | DCP | 5 Kg | Rcc Building Camical Lab Room North Side Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 367 | CO2 | 5 Kg | Rcc Building Camical Lab Room North Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
7 | 368 | CO2 | 5 Kg | Rcc Building West Side Wasing Room Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
8 | 369 | DCP | 5 Kg | Rcc Building West Side Wasing Room Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 370 | DCP | 5 Kg | Rcc Building East Side File Keeping Room Box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
10 | 371 | DCP | 5 Kg | Rcc Building East Side File Keeping Room Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Dyeing Rcc Building 3rd Floor | [14 empty] | .
1 | 372 | DCP | 5 Kg | Rcc Building West Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 373 | CO2 | 5 Kg | Rcc Building West Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 374 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 375 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
5 | 376 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
6 | 377 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
7 | 378 | DCP | 5 Kg | Rcc Bulding East Side piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 379 | CO2 | 5 Kg | Rcc Bulding East Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
9 | 380 | DCP | 5 Kg | Rcc Bulding South Side piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
10 | 381 | DCP | 5 Kg | Rcc Bulding South Side piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Dyeing Rcc Building 4th Floor | [14 empty] | .
1 | 382 | DCP | 5 Kg | Rcc Building West Side Middle Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
2 | 383 | DCP | 5 Kg | Rcc Building West Side Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 384 | DCP | 5 Kg | Rcc Building Middle Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 385 | CO2 | 5 Kg | Rcc Building Middle Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
5 | 386 | DCP | 5 Kg | Rcc Building Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 387 | DCP | 5 Kg | Rcc Building Middle Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
7 | 388 | DCP | 5 Kg | Rcc Building Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 389 | DCP | 5 Kg | Rcc Building Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 390 | DCP | 5 Kg | Rcc Building East Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
10 | 391 | CO2 | 5 Kg | Rcc Building East Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
Dyeing Rcc Building 5th Floor | [14 empty] | .
1 | 392 | CO2 | 5 Kg | Rcc Building South Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
2 | 393 | DCP | 5 Kg | Rcc Building South Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 394 | DCP | 5 Kg | Rcc Building Wast Side wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 395 | CO2 | 5 Kg | Rcc Building Wast Side wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
5 | 396 | DCP | 5 Kg | Rcc Building North Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 397 | DCP | 5 Kg | Rcc Building North Side Piller | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
7 | 398 | DCP | 5 Kg | Rcc Building North Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 399 | DCP | 5 Kg | Rcc Building North Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 400 | CO2 | 5 Kg | Rcc Building East Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
10 | 401 | DCP | 5 Kg | Rcc Building East Side Box | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Dyeing Rcc Building 6th Floor | [14 empty] | .
1 | 402 | DCP | 5 Kg | Rcc Building Wast Side Stair Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 403 | DCP | 5 Kg | Rcc Building Wast Side Stair Box | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 404 | DCP | 5 Kg | Rcc Building North Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 405 | DCP | 5 Kg | Rcc Building North Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
5 | 406 | DCP | 5 Kg | Rcc Building East Side wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
6 | 407 | CO2 | 5 Kg | Rcc Building East Side wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
7 | 408 | DCP | 5 Kg | Rcc Building South Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
8 | 409 | DCP | 5 Kg | Rcc Building South Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 410 | DCP | 5 Kg | Rcc Building South Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 411 | CO2 | 5 Kg | Rcc Building South Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Dyeing Rcc Building Top Floor | [14 empty] | .
1 | 412 | DCP | 5 Kg | Rcc Building North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 413 | CO2 | 5 Kg | Rcc Building North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Sceurity Control Room | [14 empty] | .
1 | 414 | DCP | 5 Kg | Sceurity Control Room | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 415 | Co2 | 5 Kg | Sceurity Control Room | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Coffee Shop | [14 empty] | .
1 | 416 | DCP | 5 Kg | Coffee shop north side box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 417 | Co2 | 5 Kg | Coffee shop north side box | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
Super Shop | [14 empty] | .
1 | 418 | DCP | 5 Kg | fire control room south side wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 419 | CO2 | 5 Kg | fire control room south side wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
Fire Control Room | [14 empty] | .
1 | 420 | CO2 | 5 Kg | fire control room south side wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 421 | DCP | 5 Kg | fire control room south side wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
Medical Room | [14 empty] | .
1 | 422 | DCP | 5 Kg | Mdical Room East side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 423 | Co2 | 5 Kg | Mdical Room East side Box | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
| Super shop Godawn | [13 empty] | .
1 | 424 | DCP | 5 Kg | Super shop Godawn East side wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
2 | 425 | DCP | 5 Kg | Super shop Godawn East side wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
| ETP Ground Floor | [13 empty] | .
1 | 481 | Foam | 10 Litter | Camical RoomWest Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 482 | DCP | 5 Kg | Camical RoomWest Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
3 | 483 | DCP | 5 Kg | Camical Room South Side Wall | Send For Refilling | [9 empty] | 03-09-2025
4 | 484 | CO2 | 5 Kg | Camical Room South Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
| ETP 1st Floor | [13 empty] | .
1 | 426 | DCP | 5 Kg | Etp Lab Room North Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
2 | 427 | CO2 | 5 Kg | Etp Lab Room North Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
3 | 428 | DCP | 5 Kg | Etp Blower Room West Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
4 | 429 | CO2 | 5 Kg | Etp Blower Room West Side Wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
| Offset Printing Building | [13 empty] | .
1 | 431 | DCP | 5 Kg | Ring Godawn Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 432 | DCP | 5 Kg | Ring Godawn Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 433 | DCP | 5 Kg | Ring Godawn Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
4 | 434 | DCP | 5 Kg | Ring Godawn Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
5 | 435 | DCP | 5 Kg | Ring Godawn Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
6 | 436 | DCP | 5 Kg | Ring Godawn Middle Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
7 | 437 | CO2 | 5 Kg | KPA Printing Room West side wall | 09-09-2024 | 08-09-2025 | [8 empty] | 03-09-2025
8 | 438 | DCP | 5 Kg | KPA Printing Room West side wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
9 | 439 | DCP | 5 Kg | KPA Printing Room Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
10 | 440 | DCP | 5 Kg | KPA Printing Room Middle Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
11 | 441 | CO2 | 5 Kg | KPA Printing Room East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
12 | 442 | DCP | 5 Kg | KPA Printing Room East Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
| Offset Printing Building 1st Floor | [13 empty] | .
1 | 443 | CO2 | 5 Kg | Printing Room Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
2 | 444 | DCP | 5 Kg | Printing Room Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
3 | 445 | DCP | 5 Kg | Printing Room Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 446 | CO2 | 5 Kg | Printing Room Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
| Offset Printing Building 2nd Floor | [13 empty] | .
1 | 454 | DCP | 5 Kg | Ware House North Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
2 | 455 | DCP | 5 Kg | Ware House North Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
3 | 456 | DCP | 5 Kg | Ware House South Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
4 | 457 | DCP | 5 Kg | Ware House South Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
5 | 458 | DCP | 5 Kg | Ware House East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
6 | 459 | DCP | 5 Kg | Ware House East Side Wall | Send For Refilling | [9 empty] | 03-09-2025
7 | 460 | DCP | 5 Kg | Ware House East Side Wall | Send For Refilling | [9 empty] | 03-09-2025
8 | 461 | DCP | 5 Kg | Ware House East Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
9 | 462 | DCP | 5 Kg | Ware House East Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
10 | 463 | CO2 | 5 Kg | Ware House East & North Side Corner Wall | Send For Refilling | [9 empty] | 03-09-2025
11 | 464 | DCP | 5 Kg | Ware House North Side Wall | Send For Refilling | [9 empty] | 03-09-2025
12 | 465 | DCP | 5 Kg | Ware House West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
13 | 466 | DCP | 5 Kg | Ware House West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
14 | 467 | DCP | 5 Kg | Ware House West Side Wall | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
15 | 468 | DCP | 5 Kg | Ware House West Side Wall | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
16 | 469 | DCP | 5 Kg | Ware House West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
17 | 470 | DCP | 5 Kg | Ware House West Side Wall | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
18 | 471 | DCP | 5 Kg | Ware House North Side Wall (Gate) | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
19 | 472 | DCP | 5 Kg | Ware House North Side Wall (Gate) | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
20 | 473 | CO2 | 5 Kg | Ware House Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
21 | 474 | DCP | 5 Kg | Ware House Middle Side Piller | Send For Refilling | [9 empty] | 03-09-2025
22 | 475 | DCP | 5 Kg | Ware House Middle Side Piller | 08-02-2025 | 07-02-2026 | [8 empty] | 03-09-2025
23 | 476 | DCP | 5 Kg | Ware House Middle Side Piller | 08-07-2025 | 07-07-2027 | [8 empty] | 03-09-2025
24 | 477 | DCP | 5 Kg | Ware House Middle Side Piller | Send For Refilling | [9 empty] | 03-09-2025
25 | 478 | DCP | 5 Kg | Ware House Middle Side Piller | 02-12-2024 | 01-12-2025 | [8 empty] | 03-09-2025
|  |  | SL | Item | Total |  |  | SL No | Location |  | DCP | Foam | CO2 | TOTAL
|  |  | 1 | DCP (5KG) | 363 |  |  | 1 | Germents |  | 88 | 0 | 23 | 111
|  |  | 2 | DCP (25KG) | 1 |  |  | 2 | Printing |  | 11 | 2 | 5 | 18
|  |  | 3 | CO2 (5KG) | 110 |  |  | 3 | Color kitchen |  | 6 | 0 | 4 | 10
|  |  | 4 | Foam (10Litter) | 10 |  |  | 4 | Steel Building |  | 85 | 0 | 8 | 93
|  |  | Grand Total |  | 484 |  |  | 5 | Genarater Room |  | 3 | 1 | 4 | 8
[8 empty] | 6 | Dormetory Building |  | 12 | 0 | 4 | 16
[8 empty] | 7 | Site C Section |  | 16 | 0 | 6 | 22
[8 empty] | 8 | Mezznine floor |  | 4 | 0 | 2 | 6
[8 empty] | 9 | Yarn Dyeing |  | 11 | 0 | 7 | 18
[8 empty] | 10 | Canteen+pump |  | 5 | 1 | 3 | 9
[8 empty] | 11 | Dyeing Section |  | 27 | 0 | 13 | 40
[8 empty] | 12 | New Boyler Area |  | 2 | 5 | 3 | 10
[8 empty] | 13 | New RCC Building |  | 46 | 0 | 16 | 62
[8 empty] | 14 | Security Control Room |  | 2 | 0 | 2 | 4
[8 empty] | 15 | Super Shop |  | 1 | 0 | 1 | 2
[8 empty] | 16 | Super Shop Godawn |  | 2 | 0 | 0 | 2
[8 empty] | 17 | Fire Control Room |  | 1 | 0 | 1 | 2
[8 empty] | 18 | Medical Room |  | 1 | 0 | 1 | 2
[8 empty] | 19 | ETP |  | 4 | 1 | 3 | 8
|  |  |  | Check By: Asst. Manager(Fire & Safety) |  |  |  | 20 | Offset Printing Building |  | 37 | 0 | 4 | 41
[8 empty] | Grand Total |  |  | 364 | 10 | 110 | 484

## Sheet2
Refilling Date (wiwdwjs Gi ZvwiL) | Next Refilling Date / Date of Expiry (cieZx© wiwdwjs Gi ZvwiL / †gqv` DwËY© ZvwiL)
08-02-2025 | 07-02-2026

## Sheet1
7 | 7 | DCP | 5 Kg | Ground Floor Middle Side Piller | 09-09-2024 | 08-09-2025 | 1
13 | 13 | DCP | 5 Kg | Ground Floor East Side Piller | 09-09-2024 | 08-09-2025 | 2
3 | 48 | DCP | 5 Kg | Sewing Section West Side Piller | 09-09-2024 | 08-09-2025 | 3
3 | 93 | DCP | 5 Kg | Sewing Section West Side Piller | 09-09-2024 | 08-09-2025 | 4
2 | 238 | DCP | 5 Kg | North Side Wall 1st Floor | 09-09-2024 | 08-09-2025 | 5
10 | 261 | DCP | 5 Kg | Carton Section Middle Side Piller | 09-09-2024 | 08-09-2025 | 6
1 | 280 | DCP | 5 Kg | Yarn dyeing Ground Floor South Side Wall | 09-09-2024 | 08-09-2025 | 7
2 | 297 | DCP | 5 Kg | Canteen West Side Wall | 09-09-2024 | 08-09-2025 | 8
13 | 314 | DCP | 5 Kg | Dyeing Section South Side Wall | 09-09-2024 | 08-09-2025 | 9
29 | 330 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | 10
38 | 339 | CO2 | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | 11
39 | 340 | DCP | 5 Kg | Dyeing Section NorthSide Middle Piller | 09-09-2024 | 08-09-2025 | 12
2 | 353 | CO2 | 5 Kg | Rcc Bulding West Side Piller | 09-09-2024 | 08-09-2025 | 13
6 | 357 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | 14
9 | 360 | CO2 | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | 15
10 | 361 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | 16
1 | 362 | DCP | 5 Kg | Rcc Building Lab West stair Side Box | 09-09-2024 | 08-09-2025 | 17
2 | 363 | DCP | 5 Kg | Rcc Building Lab West stair Side Box | 09-09-2024 | 08-09-2025 | 18
3 | 364 | DCP | 5 Kg | Rcc Building Lab West Side Box | 09-09-2024 | 08-09-2025 | 19
5 | 376 | DCP | 5 Kg | Rcc Bulding Middle Side piller | 09-09-2024 | 08-09-2025 | 20
8 | 379 | CO2 | 5 Kg | Rcc Bulding East Side piller | 09-09-2024 | 08-09-2025 | 21
9 | 380 | DCP | 5 Kg | Rcc Bulding South Side piller | 09-09-2024 | 08-09-2025 | 22
1 | 382 | DCP | 5 Kg | Rcc Building West Side Middle Piller | 09-09-2024 | 08-09-2025 | 23
3 | 384 | DCP | 5 Kg | Rcc Building Middle Side Wall | 09-09-2024 | 08-09-2025 | 24
4 | 385 | CO2 | 5 Kg | Rcc Building Middle Side Wall | 09-09-2024 | 08-09-2025 | 25
6 | 387 | DCP | 5 Kg | Rcc Building Middle Side Piller | 09-09-2024 | 08-09-2025 | 26
9 | 390 | DCP | 5 Kg | Rcc Building East Side Piller | 09-09-2024 | 08-09-2025 | 27
10 | 391 | CO2 | 5 Kg | Rcc Building East Side Piller | 09-09-2024 | 08-09-2025 | 28
1 | 392 | CO2 | 5 Kg | Rcc Building South Side Piller | 09-09-2024 | 08-09-2025 | 29
2 | 393 | DCP | 5 Kg | Rcc Building South Side Piller | 09-09-2024 | 08-09-2025 | 30
3 | 394 | DCP | 5 Kg | Rcc Building Wast Side wall | 09-09-2024 | 08-09-2025 | 31
4 | 395 | CO2 | 5 Kg | Rcc Building Wast Side wall | 09-09-2024 | 08-09-2025 | 32
6 | 397 | DCP | 5 Kg | Rcc Building North Side Piller | 09-09-2024 | 08-09-2025 | 33
2 | 403 | DCP | 5 Kg | Rcc Building Wast Side Stair Box | 09-09-2024 | 08-09-2025 | 34
1 | 424 | DCP | 5 Kg | Super shop Godawn East side wall | 09-09-2024 | 08-09-2025 | 35
2 | 425 | DCP | 5 Kg | Super shop Godawn East side wall | 09-09-2024 | 08-09-2025 | 36
2 | 427 | CO2 | 5 Kg | Etp Lab Room North Side Wall | 09-09-2024 | 08-09-2025 | 37
3 | 428 | DCP | 5 Kg | Etp Blower Room West Side Wall | 09-09-2024 | 08-09-2025 | 38
4 | 429 | CO2 | 5 Kg | Etp Blower Room West Side Wall | 09-09-2024 | 08-09-2025 | 39
7 | 437 | CO2 | 5 Kg | KPA Printing Room West side wall | 09-09-2024 | 08-09-2025 | 40