## Load Management Program Site A
Factory Name: Company Name
Load Management Program
Building Name: All over Printing, Batch section, 2 stroied pre-fabricated, Site A garments building
Visit Date:14/01/2025
Date | Building Name | Floor Name | Location | Type of Materials | Length & Width | Area in sft | Load |  |  |  | Actual live load in-Ib | Total Load in-Ib | Live Load as per Approved Load Plan,Psf Yes/No | Permissible Height Limit,ft Yes/No | Is storage Height Found Within Permission | Signature of Load Manager
[7 empty] | Roll/Box No | Avg. Weight | No of Machinery/Table/Rack | Avarage weight in-Ib
14/01/2025 | All Over Printing | Mezzanin floor | Office area | Printing screen | 38'-8''x54'-0'' | 2095 | x | x | Floor Type | 17000 | 2000 | 19000 | 42
| Batch Section | 1st floor | Finish goods store | Finish goods | 25'-0''x4'-0'' | 100 | x | x | 24pcs Reck | 16000 | 200 | 16200 | 63
|  |  |  | Cartoon | 50'-0''x60'-0'' | 3000 | x | x | Floor Type | 23500 | 1000 | 24500 | 63
| 2-stroied pre-fabricated | 1st floor | Grey Fabrics store | Grey Fabrics | 92'-0''x4'-0'' | 368 | x | x | 19pcs Reck | 14500 | 2000 | 16500 | 63
| Site A garments Building | 5th floor | Cutting storage area | Cutting fabrics | 67'-0''x4'-0'' | 268 | x | x | 8pcs Reck | 14500 | 1600 | 16100 | 42

## Load Management Program Site B
Factory Name: Company Name
Load Management Program
Building Name: 5 stroied steel building. 7 stroied RCC dyeing building.
Visit Date:14/01/2025
Date | Building Name | Floor Name | Location | Type of Materials | Length & Width | Area in sft | No of Machinery/Table/Rack | Avarage weight in-Ibs | Actual Load found PSF(lbs) | Approved Load PSF(lbs) | Is load Found Within Permission? | Is storage Height Found Within Permission? | Remarks
14/01/2025 | 5 stroied steel ware house building | 1st floor | Accessories store | Accessories keeping Reck | 41'-0''x7'-9'' | 317.75 | 21 | 22500 | 70.8104 | 125
|  |  | Office Area | Table, Chair,Desk etc | 30'-0''x19'-7'' | 593.86 | 10pcs | 16500 | 27.7843 | 105
|  | 2nd floor | Fabrics store | Cutting Input fabrics | 41'-0''x4'-0'' | 164 | 8pcs | 15500 | 94.5122 | 125
|  |  | Cartoon area | Finished Cartoon | 41'-0''x4'-0'' | 164 | 23pcs | 17000 | 103.6585 | 125
|  |  | Office Area | Table, Chair,Desk etc | 44'-0''x16'-0'' | 704 | 15pcs | 16500 | 23.4375 | 105
|  | 3rd floor | Finish Fabrics store | Finish Fabrics | 41'-0''x4'-0'' | 164 | 14pcs | 12500 | 76.2195 | 125
[5 empty] | 45'-0''x4'-0'' | 180 | 21pcs | 16000 | 88.8889 | 125
|  | 4rth floor | Finishing Goods store | Finish Goods | 45'-0''x4'-0'' | 180 | 24pcs | 3200 | 17.7778 | 125
|  |  | Stationary store | Stationary accessories | 25'-0''x4'-0'' | 100 | 7pcs | 8000 | 80 | 125
| 7 stroied RCC dyeing Building | 1st floor | Fabrics store | Grey Fabrics | 93'-6''x52'-0'' | 4862 | Typical floor type | 4500 | 0.92555 | 105
|  |  | Office Area | Table, Chair,Furniture etc | 20'-0''x15'-0'' | 310 | 3pcs | 12500 | 40.3226 | 105
|  | 2nd floor | Store Room | Lab Store | 16'-0''x12'-0'' | 192 | floor type | 13000 | 67.7083 | 105
|  |  | File Keeping Store | Lab File keeping | 10'-0''x3'-0'' | 30 | 3pcs | 1500 | 50 | 105
|  | 3rd floor | Rejection Store | Rejection goods | 139'-0''x3'-0'' | 417 | 4pcs | 25000 | 59.952 | 105
|  | 4rth floor | Leftover store | Leftover goods | 46'-7''x26'-5'' | 1237.55 | Typical floor type | 12500 | 10.1006 | 105
|  | 5th floor | Metal/Maintenace Store | Metal/Maintenace Materials | 47'-7''x4'-0'' | 190 | 2pcs | 15000 | 78.9474 | 105
[5 empty] | 40'-9''x4'-0'' | 163 | 3pcs | 15000 | 92.0245 | 105
|  | 6th floor | Grey Fabrics store | Grey Fabrics | 50'-0''x40'-0'' | 2000 | floor type | 13000 | 6.5 | 105
|  |  |  | Finish Fabrics | 35'-0''x4'-0'' | 140 | 8pcs | 4700 | 33.5714 | 105