## Bracing Checklist - Site B
Monthly Check for Anchorage & Bracing Maintenance
Factory ID |  | : [Factory ID] |  |  |  | Date: | 29-11-024
Factory Name |  | : Company Name
Sl. No. | Name of building | Floor | Steam Pipe/Water Tank/Storage Rack/Structural Bracing Presence | Anchorage & Bracing Maintenance Checking
|  |  |  | Deficiency Present | Deficiency Not Present | If present, describe the location | Evidence of Appeared Bracing
1 | 5 storied steel ware house building | 1st floor | Present |  |  |  | Picture Attached in separate folder
|  | 2nd floor | Present |  |  |  | Picture Attached in separate folder
|  | 3rd floor | Present |  |  |  | Picture Attached in separate folder
|  | 4th floor | Present |  |  |  | Picture Attached in separate folder
2 | 7 stroied RCC dyeing building | 1st floor | Present |  |  |  | Picture Attached in separate folder
|  | 5th floor | Present |  |  |  | Picture Attached in separate folder
|  | 6th floor | Present |  |  |  | Picture Attached in separate folder

## Bracing Checklist - Site A
Monthly Check for Anchorage & Bracing Maintenance
Factory ID |  | : [Factory ID] |  |  |  | Date:
Factory Name |  | : Company Name
Sl. No. | Name of building | Floor | Steam Pipe/Water Tank/Storage Rack/Structural Bracing Presence | Anchorage & Bracing Maintenance Checking
|  |  |  | Deficiency Present | Deficiency Not Present | If present, describe the location | Evidence of Appeared Bracing
1 | Batch Section | 1st floor | Present |  |  |  | Picture Attached in separate folder
2 | 2-Storied Pre-Fabricated building | 1st floor | Present |  |  |  | Picture Attached in separate folder
3 | Site A garments building | 5th floor | Present |  |  |  | Picture Attached in separate folder
Monthly Check for Anchorage & Bracing Maintenance
Factory ID |  | : [Factory ID] |  |  |  | Date:
Factory Name |  | : Company Name
Sl. No. | Name of building | Floor | Steam Pipe/Water Tank/Storage Rack/Structural Bracing Presence | Bracing Maintenance Checking
|  |  |  | Deficiency Present | Deficiency Not Present | If present, describe the location | Evidence of Appeared Bracing
2 | 7 stroied RCC dyeing building | 1st floor |  |  |  |  | Picture Attached in separate folder
6 |  | 5th floor |  |  |  |  | Picture Attached in separate folder
7 |  | 6th floor |  |  |  |  | Picture Attached in separate folder